HP-6040H

1. Push down & keys simultaneously.
2. Then the left row appears LK.
3. Set its value to 88 and push the SET key on the left side, until the parameters CF, appears.
	1. CF = 0; Centigrade.
	2. CF = 1; Fahrenheit.